Important Information you need to read. Do not include this page with the CCR you provide to customers.
'TCEQ provides the CCR Generator as a tool for systems to begin creating their CCR, you must add information to this draft report to make it complete according to Title 30 Texas Administrative Code Chapter 290 Subchapter H: Consumer Confidence Reports. It is the responsibility of the water system to make sure the CCR provided to customers meets all CCR requirements and contains correct data. The CCR is due to TCEQ and your customers by July 1 of every year. For more information and instruction about how to complete the CCR see https://www.tceq.texas.gov/drinkingwater/ccr. For specific information about your water system visit Texas Drinking Water Watch at http://dww2.tceq.texas.gov/DWW/.'
2019 Consumer Confidence Report for Public Water System WEST ROOSEVELT MOBILE HOME PARK
	This is your water quality report for January 1 to December 31, 2019
	
	For more information regarding this report contact: 

	
	
	

	
	
	

	WEST ROOSEVELT MOBILE HOME PARK provides ground water from the Ogallala Aquifer located in Lubbock County.
	
	Name   ___Mike Palmer 

	
	
	

	
	
	Phone  ___806-543-0168

	
	
	


Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono (806)448-8934.
Definitions and Abbreviations
	Definitions and Abbreviations
	
	The following tables contain scientific terms and measures, some of which may require explanation.

	
	
	

	Action Level:
	
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

	
	
	

	Action Level Goal (ALG):  
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health.  ALGs allow for a margin of safety.

	
	
	

	Avg:  
	
	Regulatory compliance with some MCLs are based on running annual average of monthly samples.

	
	
	

	Level 1 Assessment:
	
	 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	
	
	

	
	
	

	Level 2 Assessment:
	
	 A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	
	
	

	
	
	

	Maximum Contaminant Level or MCL:
	
	The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	
	
	

	
	
	

	Maximum Contaminant Level Goal or MCLG:
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

	
	
	

	Maximum residual disinfectant level or MRDL:
	
	The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	
	
	

	
	
	

	Maximum residual disinfectant level goal or MRDLG:
	
	The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	
	
	

	MFL
	
	million fibers per liter (a measure of asbestos)

	
	
	

	mrem:
	
	millirems per year (a measure of radiation absorbed by the body)

	
	
	

	na:  
	
	not applicable.

	
	
	

	NTU
	
	nephelometric turbidity units (a measure of turbidity)

	
	
	

	pCi/L
	
	picocuries per liter (a measure of radioactivity)


Definitions and Abbreviations
	ppb:  
	
	micrograms per liter or parts per billion - or one ounce in 7,350,000 gallons of water.

	
	
	

	ppm:  
	
	milligrams per liter or parts per million - or one ounce in 7,350 gallons of water.

	
	
	

	ppq
	
	parts per quadrillion, or picograms per liter (pg/L)

	
	
	

	ppt
	
	parts per trillion, or nanograms per liter (ng/L)

	
	
	

	Treatment Technique or TT:
	
	A required process intended to reduce the level of a contaminant in drinking water.


Information about your Drinking Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.
Contaminants that may be present in source water include:
-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
'This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/L) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system West Roosevelt Mobile Home Park has a fluoride concentration of 2.19 MG/L for Well EP001 and 2.58 MG/L for Well EP001.
'Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water.'
'For more information, please call Mike Palmer of West Roosevelt MHP at 8806-543-0168.  Some home water treatment units are also available to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF International at 1-877-8-NSF-HELP.'
Information about Source Water
'TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact Mike Palmer  806-543-0168
	Lead and Copper
	Date Sampled
	MCLG
	Action Level (AL)
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Copper
	03/22/2018
	1.3
	1.3                                     
	0.066
	0
	ppm      
	N
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems.

	
	
	
	
	
	
	
	
	

	Lead
	03/22/2018
	0
	15                                      
	1.91
	0
	ppb      
	N
	Corrosion of household plumbing systems; Erosion of natural deposits.


2019 Water Quality Test Results
2019
	Disinfection By-Products
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Haloacetic Acids (HAA5)
	08/09/2018
	1
	1 - 1
	No goal for the total
	60                                      
	ppb      
	N
	By-product of drinking water disinfection.


2019
	Inorganic Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Arsenic
	2019
	7.8
	6.5 - 7.8
	0
	10                                      
	ppb      
	N
	Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.


While your drinking water meets EPA standards for arsenic, it does contain low levels of arsenic. EPAs standard balances the current understanding of arsenics possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.
	Barium
	2019
	0.053
	0.042 - 0.053
	2
	2                                       
	ppm      
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Chromium
	2019
	1.6
	1.4 - 1.6
	100
	100                                     
	ppb      
	N
	Discharge from steel and pulp mills; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Fluoride
	2019
	2.58
	2.19 - 2.58
	4
	4.0                                     
	ppm      
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	
	
	
	
	
	
	
	
	

	Nitrate [measured as Nitrogen]
	2019
	7
	3.94 - 6.99
	10
	10                                      
	ppm      
	N
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.


Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you should ask advice from your health care provider.
	Selenium
	2019
	11
	9.9 - 11
	50
	50                                      
	ppb      
	N
	Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines.


2019
	Radioactive Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination


	Beta/photon emitters
	08/02/2016
	15.9
	15.2 - 15.9
	0
	50                                      
	pCi/L*   
	N
	Decay of natural and man-made deposits.


*EPA considers 50 pCi/L to be the level of concern for beta particles.
	Gross alpha excluding radon and uranium
	08/02/2016
	5
	0 - 5
	0
	15                                      
	pCi/L    
	N
	Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Uranium
	08/02/2016
	12.5
	11.5 - 12.5
	0
	30                                      
	ug/l     
	N
	Erosion of natural deposits.


Disinfectant Residual
' A blank disinfectant residual table has been added to the CCR template, you will need to add data to the fields. Your data can be taken off the Disinfectant Level Quarterly Operating Reports (DLQOR).'
	Disinfectant Residual
	Year
	Average Level
	Range of Levels Detected
	MRDL
	MRDLG
	Unit of Measure
	Violation (Y/N)
	Source in Drinking Water

	
	
	
	
	
	
	
	
	

	Chlorine (Free)
	2019
	0.50 ppm
	0.20 ppm – 1.72 ppm
	4
	4
	ppm
	N      
	Water additive used to control microbes.


Violations
	Combined Radium 226/228

	Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2017
	12/31/2019
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Gross alpha excluding radon and uranium

	Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation


Violations
	MONITORING, ROUTINE MAJOR
	01/01/2017
	12/31/2019
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Uranium

	Some people who drink water containing uranium in excess of the MCL (30 ug/L) over many years may have increased risk of getting cancer and kidney toxicity.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2017
	12/31/2019
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


Total Coliform Results 2019

The federal Revised Total Coliform Rule protects public health by reducing potential pathways for fecal contamination into public drinking water distribution systems. All public water systems must comply with the Revised Total Coliform Rule requirements effective April 1, 2016.
	Type/
RP Loc
	Sample
No.
	Date
	Facility
	Sample Pt.
	Sample Pt.
Description
	Lab ID
	Result / Analyte / Method / MP


	RT
	158864
	12-10-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
12-01-2019
12-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
12-01-2019
12-31-2019
412 PR 2805

	RT
	158345
	11-06-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A – Absent
COLIFORM (TCR) (3100)
COLILERT-18
11-01-2019
11-30-2019
A - Absent
E. COLI(3014)
COLILERT-18
11-01-2019
11-30-2019
407 PR 2805

	RT
	157893
	10-07-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
10-01-2019
10-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
10-01-2019
10-31-2019
503 CR 2800

	RT
	157471
	09-10-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
09-01-2019
09-30-2019
A - Absent
E. COLI(3014)
COLILERT-18
09-01-2019
09-30-2019
412 PR 2805

	RT
	157062
	08-12-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
08-01-2019
08-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
08-01-2019
08-31-2019
407 PR 2805

	RT
	156433
	07-02-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
07-01-2019
07-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
07-01-2019
07-31-2019
503 CR 2800

	RT
	156105
	06-11-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
06-01-2019
06-30-2019
A - Absent
E. COLI(3014)
COLILERT-18
06-01-2019
06-30-2019
407 PR 2805

	RT
	155642
	05-09-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
05-01-2019
05-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
05-01-2019
05-31-2019
5208 E ACUFF RD

	RT
	155143
	04-08-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
04-01-2019
04-30-2019
A - absent
E. COLI(3014)
COLILERT-18
04-01-2019
04-30-2019
503 CR 2800

	RT
	154635
	03-06-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
03-01-2019
03-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
03-01-2019
03-31-2019
407 RR 2805

	RT
	154103
	02-05-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
02-01-2019
02-28-2019
A - Absent
E. COLI(3014)
COLILERT-18
02-01-2019
02-28-2019
CR 2800 405

	RT
	153725
	01-08-2019
	DS01
	DSTCRRT
	ROUTINE TCR SAMPLE
	48150
	A - Absent
COLIFORM (TCR) (3100)
COLILERT-18
01-01-2019
01-31-2019
A - Absent
E. COLI(3014)
COLILERT-18
01-01-2019
01-31-2019
503 CR 2800 SEC 2


	
	
	
	
	
	
	1
	
	of
	
	7

	06/29/2020
	
	-
	
	TX1520232_2019_2020-06-29_17-36-00.DOC
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	



