Mandatory Language for Monitoring and Reporting Violation

Failure to Submit a Disinfectant Level Quarterly Operating Report (DLQOR)

WEST ROOSEVELT MOBILE HOME PARK PWS 1520232 has violated the monitoring and reporting requirements set by Texas Commission on Environmental Quality (TCEQ) in Title 30, Texas Administrative Code (30 TAC), Section 290, Subchapter F. Public water systems are required to properly disinfect water before distribution, maintain acceptable disinfection residuals within the distribution system, monitor the disinfectant residual at various locations throughout the distribution system, and report the results of that monitoring to the TCEQ on a quarterly basis.

Results of regular monitoring are an indicator of whether or not your drinking water is safe from microbial contamination.

Type of violation:  DLQOR

This violation(s) occurred in the monitoring period(s) 1Q2015, 2Q2014 – 4Q2014, 1Q2013 – 4Q2013, 2Q2011, 1Q2011, 4Q2010, 3Q2010

We are taking the following actions to address this issue:

The corrective action addressing this violation is that we have completed the disinfection level quarterly report (DLQOR) consistently and been in 100% compliance since our acquisition of the trailer park.  The current management and ownership was not in place when these violations occurred from 2010 thru 2015.  This includes the weekly residual readings throughout the park and maintaining the proper disinfection levels.  We have all DLQOR’s back to 2017 available for review in the office, please let Chris Estes or myself know you would like to review the DLQOR’s and these will be made available immediately.

Please share this information with all people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have questions regarding this matter, you may contact

Water System Official: __Mike Palmer

Area code + Phone number: __806 543 0168

Posted Date / Delivered on: __11/19/2021