2021 Consumer Confidence Report for Public Water System WEST ROOSEVELT MOBILE HOME PARK
	This is your water quality report for January 1 to December 31, 2021
	
	For more information regarding this report contact: 

	
	
	

	
	
	

	WEST ROOSEVELT MOBILE HOME PARK provides ground water from Ogallala Aquifer located in Lubbock County.
	
	Name   _Mike Palmer 

	
	
	

	
	
	Phone  _806-543-0168

	
	
	


Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono (806) 448-8934_.
Definitions and Abbreviations
	Definitions and Abbreviations
	
	The following tables contain scientific terms and measures, some of which may require explanation.

	
	
	

	Action Level:
	
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

	
	
	

	
	
	

	
	
	

	Avg:  
	
	Regulatory compliance with some MCLs are based on running annual average of monthly samples.

	
	
	

	Level 1 Assessment:
	
	 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	
	
	

	
	
	

	Level 2 Assessment:
	
	 A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	
	
	

	
	
	

	Maximum Contaminant Level or MCL:
	
	The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	
	
	

	
	
	

	Maximum Contaminant Level Goal or MCLG:
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

	
	
	

	Maximum residual disinfectant level or MRDL:
	
	The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	
	
	

	
	
	

	Maximum residual disinfectant level goal or MRDLG:
	
	The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	
	
	

	MFL
	
	million fibers per liter (a measure of asbestos)

	
	
	

	mrem:
	
	millirems per year (a measure of radiation absorbed by the body)

	
	
	

	na:  
	
	not applicable.

	
	
	

	NTU
	
	nephelometric turbidity units (a measure of turbidity)

	
	
	

	pCi/L
	
	picocuries per liter (a measure of radioactivity)


Definitions and Abbreviations
	ppb:  
	
	micrograms per liter or parts per billion

	
	
	

	ppm:  
	
	milligrams per liter or parts per million

	
	
	

	ppq
	
	parts per quadrillion, or picograms per liter (pg/L)

	
	
	

	ppt
	
	parts per trillion, or nanograms per liter (ng/L)

	
	
	

	Treatment Technique or TT:
	
	A required process intended to reduce the level of a contaminant in drinking water.


Information about your Drinking Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.
Contaminants that may be present in source water include:
-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/L) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system West Roosevelt MHP has a fluoride concentration of 2.58 mg/L.
Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water.
For more information, please call Mike Palmer of West Roosevelt MHP at 806-543-0168. Some home water treatment units are also available to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF International at 1-877-8-NSF-HELP.
Information about Source Water
TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact [insert water system contact][insert phone number]
Coliform Bacteria
	Maximum Contaminant Level Goal
	Total Coliform Maximum Contaminant Level
	Highest No. of Positive
	Fecal Coliform or E. Coli Maximum Contaminant Level
	Total No. of Positive E. Coli or Fecal Coliform Samples
	Violation
	Likely Source of Contamination

	0
	1 positive monthly sample.
	1
	
	0
	N
	Contamination while taking sample.


	Lead and Copper
	Date Sampled
	MCLG
	Action Level (AL)
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Copper
	2021
	1.3
	1.3                                     
	0.0085
	0
	ppm      
	N
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems.


2021 Water Quality Test Results
2021
	Inorganic Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Arsenic
	04/25/2019
	7.8
	6.5 - 7.8
	0
	10                                      
	ppb      
	N
	Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.


While your drinking water meets EPA standards for arsenic, it does contain low levels of arsenic. EPAs standard balances the current understanding of arsenics possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.
	Barium
	04/25/2019
	0.053
	0.042 - 0.053
	2
	2                                       
	ppm      
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Chromium
	04/25/2019
	1.6
	1.4 - 1.6
	100
	100                                     
	ppb      
	N
	Discharge from steel and pulp mills; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Fluoride
	02/07/2019
	2.58
	2.19 - 2.58
	4
	4.0                                     
	ppm      
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	
	
	
	
	
	
	
	
	

	Nitrate [measured as Nitrogen]
	2021
	9
	4.24 - 8.95
	10
	10                                      
	ppm      
	N
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.


Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you should ask advice from your health care provider.
	Selenium
	04/25/2019
	11
	9.9 - 11
	50
	50                                      
	ppb      
	N
	Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines.


2021
	Radioactive Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination


	Beta/photon emitters
	08/02/2016
	15.9
	15.2 - 15.9
	0
	50                                      
	pCi/L*   
	N
	Decay of natural and man-made deposits.


*EPA considers 50 pCi/L to be the level of concern for beta particles.
	Gross alpha excluding radon and uranium
	08/02/2016
	5
	0 - 5
	0
	15                                      
	pCi/L    
	N
	Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Uranium
	08/02/2016
	12.5
	11.5 - 12.5
	0
	30                                      
	ug/l     
	N
	Erosion of natural deposits.


2021
	Synthetic organic contaminants including pesticides and herbicides
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Atrazine
	2021
	0.1
	0.1 - 0.1
	3
	3                                       
	ppb      
	N
	Runoff from herbicide used on row crops.


Disinfectant Residual
A blank disinfectant residual table has been added to the CCR template, you will need to add data to the fields. Your data can be taken off the Disinfectant Level Quarterly Operating Reports (DLQOR).
	Disinfectant Residual
	Year
	Average Level
	Range of Levels Detected
	MRDL
	MRDLG
	Unit of Measure
	Violation (Y/N)
	Source in Drinking Water

	
	
	
	
	
	
	
	
	

	Chlorine(free)
	2021
	
	0.20 ppm – 2.01 ppm
	4
	4
	ppm
	ppm      
	Water additive used to control microbes.


Violations
	E. coli

	Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITOR GWR TRIGGERED/ADDITIONAL, MAJOR
	07/29/2021
	11/19/2021
	We failed to collect follow-up samples within 24 hours of learning of the total coliform-positive sample. These needed to be tested for fecal indicators from all sources that were being used at the time the positive sample was collected.


Violations
	


	Lead and Copper Rule

	The Lead and Copper Rule protects public health by minimizing lead and copper levels in drinking water, primarily by reducing water corrosivity. Lead and copper enter drinking water mainly from corrosion of lead and copper containing plumbing materials.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	LEAD CONSUMER NOTICE (LCR)
	09/29/2018
	11/22/2021
	We failed to provide the results of lead tap water monitoring to the consumers at the location water was tested. These were supposed to be provided no later than 30 days after learning the results.

	
	
	
	
	

	
	
	
	
	


	Public Notification Rule

	The Public Notification Rule helps to ensure that consumers will always know if there is a problem with their drinking water. These notices immediately alert consumers if there is a serious problem with their drinking water (e.g., a boil water emergency).

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	05/09/2008
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	07/10/2008
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	07/25/2008
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/01/2008
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/20/2008
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	01/02/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	03/05/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	07/16/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	08/19/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	09/07/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	09/28/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/27/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/09/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.


Violations
	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/22/2009
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	03/01/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	04/08/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	04/21/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	05/27/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	06/29/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	08/12/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	09/10/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	09/14/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/10/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	11/10/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/11/2010
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	01/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	02/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	03/12/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	04/12/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	05/13/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	06/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	07/11/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	08/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	09/10/2011
	09/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.


Violations
	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	11/10/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	11/28/2011
	11/22/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/11/2011
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	01/10/2012
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	02/10/2012
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	03/11/2012
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	04/11/2012
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	05/01/2013
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	10/10/2013
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	11/10/2013
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/11/2013
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	02/13/2014
	11/22/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	08/19/2014
	11/22/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	12/11/2015
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	11/12/2016
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	07/29/2018
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	PUBLIC NOTICE RULE LINKED TO VIOLATION
	04/18/2021
	11/23/2021
	We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations.

	
	
	
	
	

	
	
	
	
	


Violation Corrective Actions and Public Notice Access 

West Roosevelt MHP Management has addressed the above indicated violations as required by TCEQ via public notices which can been seen on the placard (next to mailboxes) at the park entrance or on our website westrooseveltmhp.com under public notice tab.

The E coli violation monitoring violation was assessed in error as all samples were collected within 24 hours.  TCEQ requirements are 4 additional samples taken within 24 hours of the positive sample from upstream, downstream, untreated water directly from well and at the original testing site that showed the positive test.  All the follow up test were negative for any coliform bacteria, meaning the original positive sample was contaminated by the person obtaining the sample.  The test results were supplied to TCEQ once notice of violation received and the violation was cleared November 2021.
The remaining violations were assessed under the previous ownership and have been addressed and public notice provided by the 2019 consumer confidence report and consumer confidence addendum public notice compliance outreach 2018, both of these publications have been posted on the park entrance placard (next to mailboxes) and on the website in 2018, 2019, 2020 and 2021.  Our corrective actions were performed via public notices and  returned to compliance November 2021.
The park has completed the water storage required TCEQ.  We are currently submitting all the information to TCEQ to get final approval to implement the new system.  We apologize for the time it has taken to complete but due to the pandemic, equipment failure and the difficulty in equipment replacement plus some additional valve placements to assist in isolating different park sections significantly reducing water down times, the completion has been delayed and very labor intensive.  We have diligently worked to get this completed so we can provide you with the best water system in the County.

All of our test results and other information regarding West Roosevelt MHP public water system can be viewed on the Drinking Water Watch website, dww2.tceq.texas.gov/DWW.  The name of our water system is WEST ROOSEVELT MOBILE HOME PARK.

Please review the section above “Information about your Drinking Water”.  If any questions or need assistance with interpreting this report contact myself or Chris Estes.
	
	
	
	
	
	
	2
	
	of
	
	9

	06/30/2022
	
	-
	
	TX1520232_2021_2022-06-30_14-23-45.DOC
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	



