2023 Consumer Confidence Report for Public Water System WEST ROOSEVELT MOBILE HOME PARK
	This is your water quality report for January 1 to December 31, 2023
	
	For more information regarding this report contact: 

	
	
	

	
	
	

	WEST ROOSEVELT MOBILE HOME PARK provides ground water from Ogallala Aquifer in Lubbock County TX
	
	Name   ____Mike Palmer

	
	
	

	
	
	Phone  ____8065430168

	
	
	


Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono (806)448-8934.
Definitions and Abbreviations
	Definitions and Abbreviations
	
	The following tables contain scientific terms and measures, some of which may require explanation.

	
	
	

	Action Level:
	
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

	
	
	

	
	
	

	
	
	

	Avg:  
	
	Regulatory compliance with some MCLs are based on running annual average of monthly samples.

	
	
	

	Level 1 Assessment:
	
	 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	
	
	

	
	
	

	Level 2 Assessment:
	
	 A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	
	
	

	
	
	

	Maximum Contaminant Level or MCL:
	
	The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	
	
	

	
	
	

	Maximum Contaminant Level Goal or MCLG:
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

	
	
	

	Maximum residual disinfectant level or MRDL:
	
	The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	
	
	

	
	
	

	Maximum residual disinfectant level goal or MRDLG:
	
	The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	
	
	

	MFL
	
	million fibers per liter (a measure of asbestos)

	
	
	

	mrem:
	
	millirems per year (a measure of radiation absorbed by the body)

	
	
	

	na:  
	
	not applicable.

	
	
	

	NTU
	
	nephelometric turbidity units (a measure of turbidity)

	
	
	

	pCi/L
	
	picocuries per liter (a measure of radioactivity)


Definitions and Abbreviations
	ppb:  
	
	micrograms per liter or parts per billion

	
	
	

	ppm:  
	
	milligrams per liter or parts per million

	
	
	

	ppq
	
	parts per quadrillion, or picograms per liter (pg/L)

	
	
	

	ppt
	
	parts per trillion, or nanograms per liter (ng/L)

	
	
	

	Treatment Technique or TT:
	
	A required process intended to reduce the level of a contaminant in drinking water.


Information about your Drinking Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.
Contaminants that may be present in source water include:
-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/L) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system West Roosevelt MHP has a fluoride concentration of 2.53 mg/L.
Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water.
For more information, please call Mike Palmer of West Roosevelt MHP at 8065430168. Some home water treatment units are also available to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF International at 1-877-8-NSF-HELP.
Information about Source Water
TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact [insert water system contact][insert phone number]
	Lead and Copper
	Date Sampled
	MCLG
	Action Level (AL)
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Copper
	09/15/2021
	1.3
	1.3                                     
	0.0085
	0
	ppm      
	N
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems.


2023 Water Quality Test Results

2023
	Inorganic Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Arsenic
	02/23/2022
	8.6
	8.6 - 8.6
	0
	10                                      
	ppb      
	N
	Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.


While your drinking water meets EPA standards for arsenic, it does contain low levels of arsenic. EPAs standard balances the current understanding of arsenics possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.
	Barium
	02/23/2022
	0.048
	0.048 - 0.048
	2
	2                                       
	ppm      
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Chromium
	02/23/2022
	4.1
	3.4 - 4.1
	100
	100                                     
	ppb      
	N
	Discharge from steel and pulp mills; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Fluoride
	02/23/2022
	2.53
	2.53 - 2.53
	4
	4.0                                     
	ppm      
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	
	
	
	
	
	
	
	
	

	Nitrate [measured as Nitrogen]
	2023
	10
	5.47 - 10.9
	10
	10                                      
	ppm      
	Y
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.


Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you should ask advice from your health care provider.
	Nitrite [measured as Nitrogen]
	2023
	0.0444
	0.0382 - 0.0444
	1
	1                                       
	ppm      
	N
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Selenium
	02/23/2022
	9.3
	9 - 9.3
	50
	50                                      
	ppb      
	N
	Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines.


Disinfectant Residual
A blank disinfectant residual table has been added to the CCR template, you will need to add data to the fields. Your data can be taken off the Disinfectant Level Quarterly Operating Reports (DLQOR).
	Disinfectant Residual
	Year
	Average Level
	Range of Levels Detected
	MRDL
	MRDLG
	Unit of Measure
	Violation (Y/N)
	Source in Drinking Water

	
	
	
	
	
	
	
	
	

	Chlorine(free)
	2023
	0.66
	0.20 to 1.31
	4
	4
	ppm
	N
	Water additive used to control microbes.


Violations
	Alachlor

	Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Atrazine

	Some people who drink water containing atrazine well in excess of the MCL over many years could experience problems with their cardiovascular system or reproductive difficulties.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Benzo(a)pyrene

	Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Chlordane

	Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous system, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.


Violations
	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Di (2-ethylhexyl) adipate

	Some people who drink water containing di (2-ethylhexyl) adipate well in excess of the MCL over many years could experience general toxic effects or reproductive difficulties.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Di (2-ethylhexyl) phthalate

	Some people who drink water containing di (2-ethylhexyl) phthalate in excess of the MCL over many years may have problems with their liver, or experience reproductive difficulties, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Endrin

	Some people who drink water containing endrin in excess of the MCL over many years could experience liver problems.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Heptachlor

	Some people who drink water containing heptachlor in excess of the MCL over many years could experience liver damage and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation


Violations
	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Heptachlor epoxide

	Some people who drink water containing heptachlor epoxide in excess of the MCL over many years could experience liver damage, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Hexachlorobenzene

	Some people who drink water containing hexachlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys, or adverse reproductive effects, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Hexachlorocyclopentadiene

	Some people who drink water containing hexachlorocyclopentadiene well in excess of the MCL over many years could experience problems with their kidneys or stomach.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


Violations
	Lindane

	Some people who drink water containing lindane in excess of the MCL over many years could experience problems with their kidneys or liver.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Methoxychlor

	Some people who drink water containing methoxychlor in excess of the MCL over many years could experience reproductive difficulties.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Nitrate [measured as Nitrogen]

	Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MCL, SINGLE SAMPLE
	07/01/2023
	09/30/2023
	A water sample showed that the amount of this contaminant in our drinking water was above its standard (called a maximum contaminant level and abbreviated MCL) for the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Pentachlorophenol

	Some people who drink water containing pentachlorophenol in excess of the MCL over many years could experience problems with their liver or kidneys, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.


Violations
	


	Simazine

	Some people who drink water containing simazine in excess of the MCL over many years could experience problems with their blood.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	Toxaphene

	Some people who drink water containing toxaphene in excess of the MCL over many years could have problems with their kidneys, liver, or thyroid, and may have an increased risk of getting cancer.

	Violation Type
	Violation Begin
	Violation End
	Violation Explanation

	MONITORING, ROUTINE MAJOR
	01/01/2023
	03/31/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	MONITORING, ROUTINE MAJOR
	07/01/2023
	09/30/2023
	We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated.

	
	
	
	
	

	
	
	
	
	


	
	
	
	
	
	
	3
	
	of
	
	11

	07/31/2024
	
	-
	
	TX1520232_2023_2024-07-31_17-02-54.DOC
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	



